## RegisterMap
Tag Name | Description | Group | Register Type | Address | Bit | Data Type | Word Order | Length | Scale | Offset | Unit | Access | Enum | Default | Range
VFD_OutputFreq | Output frequency | VFD | Holding | 40001 |  | UInt16 | BigEndian | 1 | 0.01 | 0 | Hz | r |  |  | 0..60
VFD_Current | Motor current | VFD | Holding | 40002 |  | Float | CDAB | 2 | 0.1 | 0 | A | r |  |  | 0..120
VFD_Command | Command word | VFD | Holding | 40010 |  | UInt16 | BigEndian | 1 | 1 | 0 |  | rw | 0=Stop;1=Run;2=Jog | 0
VFD_FaultBit | Fault bit of status word | VFD | Holding | 40011 | 5 | Bool | BigEndian | 1 | 1 | 0 |  | r | 0=Ok;1=Fault
VFD_Ready | Drive ready | VFD | Discrete | 10001 |  | Bool | BigEndian | 1 | 1 | 0 |  | r